## 燃料檢測服務
燃料檢測服務收費標準
序號	試 驗 項 目	方 法	收費標準NT$
1	Acidity(acetic acid) (酸度(醋酸))	ASTM D1613	1,900
2	Ash From Petroleum Products(灰份測定)(TAF 認證)	CNS 3576 / ASTM D482	4,800
3	ASTM Color(顏色測定)	ASTM D1500	1,600
4	Cetane Index-by Calculated( 十六烷指數計算)(TAF 認證)	ASTM D976/D4737 / CNS 12016/12761	4,600
5	CFPP(油料冷凝過濾阻塞點測試)	CNS 15061 / ASTM D6371	4,300
6	Cloud Point of Petroleum Oil(混濁點測定)	ASTM D2500	2,400
7	Corrosion, Copper strip(銅片腐蝕測定)(TAF 認證)	CNS 1219 / ASTM D130	3,000
8	Density by Digital Density Meter(密度測定)(TAF 認證)	CNS 14474 / ASTM D4052	1,200
9	Distillation Temperature(蒸餾試驗)(TAF 認證)	CNS 1218 / ASTM D86	3,000
10	Existent Gum Content(含膠量測定)(TAF 認證)	CNS 3382 / ASTM D381	4,600
11	Flash Point-PM Method(閃點測定)(TAF 認證)	CNS 3574 / ASTM D93	2,400
12	HFRR(柴油潤滑性測試) (TAF 認證)	CNS 15074 / ISO12156-1	11,000
13	Iodine No.(碘價)	CNS 15060 / EN 14111	1,800
14	Micro Conradson Carbon Residue (微量殘碳量測定)(TAF 認證)	CNS 14477 / ASTM D4530	2,600
15	Octane Number-CFR-RON(研究法辛烷值測定)(TAF 認證)	CNS 12011 / ASTM D2699	6,200
16	Oxidation stability of FAME (Accel.)(氧化穩定性)	EN 14112	7,200
17	Oxidation stability of FAME (Accel.)(氧化穩定性)	CNS 15471 / EN 15751	9,000
18	Oxidation Stability(氧化穩定性測定)(TAF 認證)	CNS 12014 / ASTM D525	7,000
19	pHe(燃料乙醇酸鹼度)	ASTM D6423	1,800
20	Pour Point(流動點測定)(TAF認證)	CNS 3484 / ASTM D97	2,500
21	Ramsbottom Carbon Residue(10％Bottom)(蒸餘10％藍式殘碳量測定)(TAF 認證)	ASTM D524/D86 / CNS 3776/1218	6,000
22	Rust Preventing Characteristics(防銹性試驗, A 法)	ASTM D665	3,300
23	Rust Preventing Characteristics(防銹性試驗, B 法)	ASTM D665	3,500
24	Total acid No.(TAN)(總酸價)	CNS 14906 / EN 14104	1,800
25	Vapor Pressure,Reid-Automatic(蒸氣壓測定-迷你法)(TAF 認證)	CNS 14666 / ASTM D5191	2,000
26	Viscosity Kinematic at 40℃(動黏度測定)(TAF 認證)	CNS 3390 / ASTM D445	3,000
27	Viscosity Kinematic at 50℃(動黏度測定)(TAF 認證)	CNS 3390 / ASTM D445	3,500
28	Water & Sediment in Middle Distilate Fuels by Centrifuge / (中餾油水份及沉澱物測定-離心法)(TAF 認證)	ASTM D2709 / CNS 14766	3,000
29	Water & Sedimentin Fuel by Centrifuge(燃油中水份及沉澱物測定-離心法)(TAF 認證)	ASTM D1796	3,200
30	Water Content by Distillation(含水量測定)(TAF 認證)	CNS 3517 / ASTM D95	2,500
31	Water Reaction(污染物-水反應界面率測定)	ASTM D1094	1,600
32	Specific Gravity by Hydrometer(比重測定)	ASTM D1298 CNS 12017	1,400
33	Total contamination(總污染量)	CNS 15055 EN 12662	3,500
	註：本實驗室保留是否同意收件之權利。
	聯絡人：黃亭綾05-2224171-2585，444642@cpc.com.tw

## 物化性分析檢測服務
物化性分析檢測服務收費標準
序號	試 驗 項 目	方 法	收費標準NT$
1	Acid digestion of catalysts (觸媒酸消化)	wet acid treatment	7,200
2	Aromatics in diesel fuel by HPLC(柴油中芳香烴含量分析)(TAF 認證)	ASTM D6591 / CNS15079	8,200
3	Benzene, Toluene, Xylenes, and total Aromatics in gasoline by GC method / (汽油苯、甲苯、二甲苯及總芳香烴含量分析)(TAF 認證)	ASTM D5580 / CNS 14298 / NIEA A729.7	9,500
4	Benzene, Toluene, Xylenes, and total Aromatics in gasoline by GC method / (汽油苯、甲苯、二甲苯及總芳香烴含量分析)(TAF 認證)	ASTM D5580 / CNS 14298 / NIEA A729.71C	7,200
5	Black dye in Diesel Analysis(柴油中黑色染料含量分析)	UV-Vis	3,000
6	C, H by combustion(碳, 氫元素含量分析)	ASTM D5291 C, H	9,000
7	Determination of platinum in Pt/Al2O3 catalysts by ICP-OES / (三氧化二鋁觸媒中之白金含量分析 )	ICP-OES	28,000
8	Elemental content in Lubs & Additives by X-ray (Ca,Ba,P,S,Zn) / (潤滑油及添加劑中硫,磷,鋅,鈣,鋇含量分析)	ASTM D4927	11,000
9	Elements in oil by ICP/AES, per element(油料中元素含量分析)	ASTM D5185 / (ASTM D5708A)	2,000
10	Elements in water by ICP-OES, per element(水中元素含量分析)	ICP-OES	2,000
11	Elements(after Fusion treatment) by ICP/AES, per element / (融熔消化前處理後ICP/AES元素含量分析)	IP501(ASTM D5184)	2,000
12	FAMEs amount in Diesel by Mid-IR(柴油中脂肪酸甲酯含量分析)	CNS15057, Modified	4,800
13	Fusion of catalysts (觸媒融熔消化)	fusion	9,000
14	Gas composition of natural gas (天然氣組成分分析)	ASTM D1945, GCGAS	6,000
15	Gas composition of process gas (C1-C6+) (製程氣中C1-C6+氣體組成份分析)	GCGASP	6,500
16	GC analysis with AREA% report(GC分析AREA%報告, 不含成分鑑定)	GC/FID	6,000
17	GC Detailed Hydrocarbon type for gasoline (DHAX/PIONAX) / (汽油詳細碳氫組成分類別分析)(TAF 認證)	ASTM D6730 / CNS 14949 / NIEA A726.7	16,000
18	GC Detailed Hydrocarbon type for naphtha (DHA/PINA)(輕油詳細碳氫組成分分析)	ASTM D6730	12,000
19	GC High temperature analysis with AREA% report / (高溫GC分析AREA%報告, 不含成分鑑定)	GCFID-HT	8,500
20	GC SIM-DIS for residure containing oil(含蒸餘油料之重油GC模擬蒸餾)	GCSDESTD	14,000
21	GC SIM-DIS to 750℃ for crude oil(原油GC模擬蒸餾)	GCHTSD	15,000
22	GC Simulated Distillation(GC模擬蒸餾)	ASTM D2887	8,500
23	GC/FID Purity(GC純度分析)	GC-PURITY	8,500
24	GC/MS analysis (藥劑驗收)	GCMS-check	8,000
25	GC/MS analysis with library search(未知物鑑定)	GCMS	12,000
26	GPC Molecular Weight Distribution(分子量分佈分析)	GPC	6,500
27	Heat Value by Adiabetic Calorimeter (Gross) 總燃燒熱(總熱值)	Calorimeter	11,000
28	Heat Value by Adiabetic Calorimeter (Net) 淨燃燒熱(淨熱值)	Calorimeter/元素分析儀	20,000
29	Heating value of gaseous fuel by calculation(氣體燃料熱值計算)	ASTM D3588	4,200
30	Ion content by IC(離子層析法離子含量分析)	ASTM D5827	10,000
31	IR Spectrum measurement(紅外光譜測定)	IR-Qal	2,500
32	LC-MSMS Qualitative Analysis(液相層析質譜儀定性分析)	LCMS-QAL	12,000
33	LC-MSMS Quantitative Analysis(液相層析質譜儀定量分析)	LCMS-QAT	15,000
34	LC-UV Quantitative Analysis(液相層析紫外光偵測器定量分析)	LC-UV	6,000
35	Lead in gasoline by Atomic Absorption(汽油中鉛含量分析)(TAF 認證)	ASTM D3237 / CNS 12013	4,500
36	LOI (900℃,1hr)(白金觸媒)高溫灼熱損失測定	(LOI)Heating method	6,000
37	Micro_XRF Elements Mapping, Per Mapping(微區X-射線螢光光譜元素分佈圖)	M_XRF_Mapping	12,000
38	Micro_XRF Line Scan, Per Line(微區X-射線螢光光譜線性掃瞄)	M_XRF_L_Scan	6,000
39	Micro_XRF Point Qualitative Analysis, Per Point(微區X-射線螢光光譜點定性掃瞄)	M_XRF_Point_Qal	2,500
40	Micro_XRF Point Semiquantitation, Per Point / (微區X-射線螢光光譜點定性掃瞄及半定量分析)	M_XRF_Point_SQ	3,000
41	Nitrogen in petroleum product by Chemiluminescence(石油產品中氮含量分析)	ASTM D5762	4,000
42	Nitrogen in petroleum product by combustion(石油產品中氮含量分析)	ASTM D5291 N	4,000
43	NMR-C13 Broad Band Decoupling Spectrum(碳核磁共振光譜測定)	C-NMR	10,000
44	NMR-C13 Quantitative Analysis(碳核磁共振光譜定量分析)	C-NMR-QAT	12,000
45	NMR-H1 Quantitative Analysis(氫核磁共振光譜定量分析)	H-NMR-QAT	7,500
46	NMR-H1 Spectrum(氫核磁共振光譜測定)	H-NMR	4,000
47	Oil Digestion(Ashing + Fusion) pretreatment(油品融熔消化前處理)	IP501(ASTM D5184) pretreatment	12,000
48	Olefin content of gasolines by SFC(汽油、輕油中烯烴含量分析) (TAF 認證)	ASTM D6550 / CNS 15112	8,800
49	Oxygenates in gasoline by Dual Column GC method(汽油含氧成分分析)(TAF 認證)	ASTM D4815 / CNS 14297 / NIEA A728.7	6,500
50	Pyrolysis GC/MS analysis (藥劑驗收)	PY-GCMS-check	8,000
51	Pyrolysis GC/MS analysis with library search(未知物鑑定)	PY-GCMS	12,000
52	Qualitative Analysis by XRF(X-射線螢光光譜定性掃描)	XRF-QAL	6,000
53	Quantitation of specific component by FT-IR(特定成分之IR定量分析)	IR_Quant	5,000
54	Quantitation of specific component by GC(油品中特定成分定量分析)	GCOIL-Q	16,000
55	Quantitation of specific component by UV-Vis / (紫外光-可見光分光光度計特定成分定量分析)	UV-Vis	3,600
56	Semiquantitation by XRF(X-射線螢光光譜定性掃描及半定量分析)	XRF-SQ	7,200
57	Si, Al in fuel oils by ICP/AES(燃料油中矽,鋁含量分析)	ASTM D5184	16,000
58	Sulfur by Pyro-Fluorescence(油中微量硫含量分析)(含密度)	ASTM D5453 _Modified / CNS 14505_Modified	4,400
59	Sulfur by Pyro-Fluorescence(汽油、柴油中微量硫含量分析)(TAF 認證)(含密度)	ASTM D5453 / CNS 14505	4,400
60	Sulfur in petroleum products by XRF(柴油、燃料油中硫含量分析)	ASTM D4294 / CNS 14472	2,500
61	Sulfur in petroleum products by XRF(柴油、燃料油中硫含量分析)(TAF 認證)	ASTM D2622 / CNS 13877 / NIEA A447.7	4,400
62	Sulfur in petroleum products by XRF(柴油、燃料油中硫含量分析)(TAF 認證)	ASTM D4294 / CNS 14472	3,300
63	Surface Area and Porosity Analysis(表面積及孔隙度分析)	PV/SA	9,000
64	TLC-FID SARA Analysis(薄層色層-火焰離子儀SARA分析)	TLC-FID	5,000
65	Total Chloride in Catalysts by XRF(X-射線螢光觸媒(Al2O3擔體)氯含量分析)	XRF-Cl	3,600
66	Trace Water by Coulometric Karl-Fischer Titration(柴油中微量水分含量分析)	ISO 12937	2,800
67	X-Ray Powder Diffratometric Analysis(X-射線粉末繞射圖譜, 判圖另議)	XRD	4,800
	XRD Data Interpretation:Crystal Phase Identification, per phase(X-射線粉末繞射判圖)	XRD_ID	1,500
	註：本實驗室保留是否同意收件之權利
	聯絡人：陳怡惠05-2224171-2610，078824@cpc.com.tw

## 流量計校正檢測
流量計校正檢測服務收費標準
序號	試 驗 項 目	方 法	收費標準NT$
1	2inch flow meter(2吋流量計)(TAF 認證)	實驗室自訂標準	44,000
2	3inch flow meter(3吋流量計)(TAF 認證)	實驗室自訂標準	170,000
3	4inch flow meter(4吋流量計)(TAF 認證)	實驗室自訂標準	170,000
4	6inch flow meter(6吋流量計)(TAF 認證)	實驗室自訂標準	178,500
5	8inch flow meter(8吋流量計)(TAF 認證)	實驗室自訂標準	204,000
6	10inch flow meter(10吋流量計)(TAF 認證)	實驗室自訂標準	255,000
7	12inch flow meter(12吋流量計)(TAF 認證)	實驗室自訂標準	306,000
8	16inch flow meter(16吋流量計)(TAF 認證)	實驗室自訂標準	356,000
9	24inch flow meter(24吋流量計)(TAF 認證)	實驗室自訂標準	456,000
10	2-12inch flow mete(2-12吋流量計)	測試	80,000
11	2inch flow meter(2吋流量計)	現場校正	44,000 + 相關費用
12	3inch flow meter(3吋流量計)	現場校正	170,000 + 相關費用
13	4inch flow meter(4吋流量計)	現場校正	170,000 + 相關費用
14	6inch flow meter(6吋流量計)	現場校正	178,500 + 相關費用
15	8inch flow meter(8吋流量計)	現場校正	204,000 + 相關費用
16	10inch flow meter(10吋流量計)	現場校正	255,000 + 相關費用
17	12inch flow meter(12吋流量計)	現場校正	306,000 + 相關費用
18	16inch flow meter(16吋流量計)	現場校正	356,000 + 相關費用
19	24inch flow meter(24吋流量計)	現場校正	456,000 + 相關費用
	註：本實驗室保留是否同意收件之權利。
	聯絡人：劉耀琦05-2224171-2564，051772@cpc.com.tw

## 環境檢測服務
環境檢測服務收費標準
序號	試 驗 項 目	方 法	收費標準NT$	備 註
1	空氣中C3(含)以上VOC分析	NIEA A715.15B	20,000	無認証，採樣費用另計，分析成份僅限碳氫化合物及氯烴類。
2	空氣中乙烯、乙烷分析	NIEA A715.15B	5,000	無認証，採樣費用另計
	註：本實驗室保留是否同意收件之權利。
	聯絡人：古正宇05-2224171-2741，079201@cpc.com.tw

## 觸媒檢測服務
觸媒檢測服務收費標準
序號	試 驗 項 目	方 法	收費標準NT$
1	Apparent bulk density, ABD(容積密度)	UOP method 254-65	1,000
2	Apparent bulk density(容積密度)	100CC量筒測量	600
3	crash stress(粉碎強度)	ASTM D4179	2,000
4	Hydrodesulfurization test for second stage hydrogenation catalyst / (二級氫化加氫脫硫觸媒測試)	試驗工場觸媒活性測試	1,036,547/月
5	Loss on ignition, LOI(灼燒損失)(RFCC觸媒)	Heating method	600
6	Microactivity(媒裂微活性測試)	ACE	300,000
7	Pt. catalytic reforming test(白金媒組觸媒活性測試)	試驗工場活性測試	800,000
8	size of catalyst(觸媒大小)	量測50顆平均	1,000
	註：本實驗室保留是否同意收件之權利。
	聯絡人：李美津05-2224171-2400，078018@cpc.com.tw

## 彙整表(煉研所)
台灣中油股份有限公司 煉製研究所
檢測服務收費標準(112.07)

試 驗 項 目	方 法	費用(元)
Acid digestion of catalysts (觸媒酸消化)	wet acid treatment	7,200
Acidity(acetic acid) (酸度(醋酸))	ASTM D1613	1,900
Aromatics in diesel fuel by HPLC(柴油中芳香烴含量分析)(TAF 認證)	ASTM D6591 / CNS15079	8,200
Ash From Petroleum Products(灰份測定)(TAF 認證)	CNS 3576 / ASTM D482	4,800
ASTM Color(顏色測定)	ASTM D1500	1,600
Benzene, Toluene, Xylenes, and total Aromatics in gasoline by GC method / (汽油苯、甲苯、二甲苯及總芳香烴含量分析)(TAF 認證)	ASTM D5580 / CNS 14298 / NIEA A729.7	9,500
Black dye in Diesel Analysis(柴油中黑色染料含量分析)	UV-Vis	3,000
C, H by combustion(碳, 氫元素含量分析)	ASTM D5291 C, H	9,000
Cetane Index-by Calculated( 十六烷指數計算)(TAF 認證)	ASTM D976/D4737 / CNS 12016/12761	4,600
CFPP(油料冷凝過濾阻塞點測試)	CNS 15061 / ASTM D6371	4,300
Cloud Point of Petroleum Oil(混濁點測定)	ASTM D2500	2,400
Corrosion, Copper strip(銅片腐蝕測定)(TAF 認證)	CNS 1219 / ASTM D130	3,000
Density by Digital Density Meter(密度測定)(TAF 認證)	CNS 14474 / ASTM D4052	1,200
Determination of platinum in Pt/Al2O3 catalysts by ICP-OES / (三氧化二鋁觸媒中之白金含量分析 )	ICP-OES	28,000
Distillation Temperature(蒸餾試驗)(TAF 認證)	CNS 1218 / ASTM D86	3,000
Elemental content in Lubs & Additives by X-ray (Ca,Ba,P,S,Zn) / (潤滑油及添加劑中硫,磷,鋅,鈣,鋇含量分析)	ASTM D4927	11,000
Elements in oil by ICP/AES, per element(油料中元素含量分析)	ASTM D5185 / (ASTM D5708A)	2,000
Elements in water by ICP-OES, per element(水中元素含量分析)	ICP-OES	2,000
Elements(after Fusion treatment) by ICP/AES, per element / (融熔消化前處理後ICP/AES元素含量分析)	IP501(ASTM D5184)	2,000
Existent Gum Content(含膠量測定)(TAF 認證)	CNS 3382 / ASTM D381	4,600
FAMEs amount in Diesel by Mid-IR(柴油中脂肪酸甲酯含量分析)	CNS15057, Modified	4,800
Flash Point-PM Method(閃點測定)(TAF 認證)	CNS 3574 / ASTM D93	2,400
Fusion of catalysts (觸媒融熔消化)	fusion	9,000
Gas composition of natural gas (天然氣組成分分析)	ASTM D1945, GCGAS	6,000
Gas composition of process gas (C1-C6+) (製程氣中C1-C6+氣體組成份分析)	GCGASP	6,500
GC analysis with AREA% report(GC分析AREA%報告, 不含成分鑑定)	GC/FID	6,000
GC Detailed Hydrocarbon type for gasoline (DHAX/PIONAX) / (汽油詳細碳氫組成分類別分析)(TAF 認證)	ASTM D6730 / CNS 14949 / NIEA A726.7	16,000
GC Detailed Hydrocarbon type for naphtha (DHA/PINA)(輕油詳細碳氫組成分分析)	ASTM D6730	12,000
GC High temperature analysis with AREA% report / (高溫GC分析AREA%報告, 不含成分鑑定)	GCFID-HT	8,500
GC SIM-DIS for residure containing oil(含蒸餘油料之重油GC模擬蒸餾)	GCSDESTD	14,000
GC SIM-DIS to 750℃ for crude oil(原油GC模擬蒸餾)	GCHTSD	15,000
GC Simulated Distillation(GC模擬蒸餾)	ASTM D2887	8,500
GC/FID Purity(GC純度分析)	GC-PURITY	8,500
GC/MS analysis (藥劑驗收)	GCMS-check	8,000
GC/MS analysis with library search(未知物鑑定)	GCMS	12,000
GPC Molecular Weight Distribution(分子量分佈分析)	GPC	6,500
Heat Value by Adiabetic Calorimeter (Gross) 總燃燒熱(總熱值)	Calorimeter	11,000
Heat Value by Adiabetic Calorimeter (Net) 淨燃燒熱(淨熱值)	Calorimeter/元素分析儀	20,000
Heating value of gaseous fuel by calculation(氣體燃料熱值計算)	ASTM D3588	4,200
HFRR(柴油潤滑性測試) (TAF 認證)	CNS 15074 / ISO12156-1	11,000
Iodine No.(碘價)	CNS 15060 / EN 14111	1,800
Ion content by IC(離子層析法離子含量分析)	ASTM D5827	10,000
IR Spectrum measurement(紅外光譜測定)	IR-Qal	2,500
LC-MSMS Qualitative Analysis(液相層析質譜儀定性分析)	LCMS-QAL	12,000
LC-MSMS Quantitative Analysis(液相層析質譜儀定量分析)	LCMS-QAT	15,000
LC-UV Quantitative Analysis(液相層析紫外光偵測器定量分析)	LC-UV	6,000
Lead in gasoline by Atomic Absorption(汽油中鉛含量分析)(TAF 認證)	ASTM D3237 / CNS 12013	4,500
LOI (900℃,1hr)(白金觸媒)高溫灼熱損失測定	(LOI)Heating method	6,000
Micro Conradson Carbon Residue (微量殘碳量測定)(TAF 認證)	CNS 14477 / ASTM D4530	2,600
Micro_XRF Elements Mapping, Per Mapping(微區X-射線螢光光譜元素分佈圖)	M_XRF_Mapping	12,000
Micro_XRF Line Scan, Per Line(微區X-射線螢光光譜線性掃瞄)	M_XRF_L_Scan	6,000
Micro_XRF Point Qualitative Analysis, Per Point(微區X-射線螢光光譜點定性掃瞄)	M_XRF_Point_Qal	2,500
Micro_XRF Point Semiquantitation, Per Point / (微區X-射線螢光光譜點定性掃瞄及半定量分析)	M_XRF_Point_SQ	3,000
Nitrogen in petroleum product by Chemiluminescence(石油產品中氮含量分析)	ASTM D5762	4,000
Nitrogen in petroleum product by combustion(石油產品中氮含量分析)	ASTM D5291 N	4,000
NMR-C13 Broad Band Decoupling Spectrum(碳核磁共振光譜測定)	C-NMR	10,000
NMR-C13 Quantitative Analysis(碳核磁共振光譜定量分析)	C-NMR-QAT	12,000
NMR-H1 Quantitative Analysis(氫核磁共振光譜定量分析)	H-NMR-QAT	7,500
NMR-H1 Spectrum(氫核磁共振光譜測定)	H-NMR	4,000
Octane Number-CFR-RON(研究法辛烷值測定)(TAF 認證)	CNS 12011 / ASTM D2699	6,200
Oil Digestion(Ashing + Fusion) pretreatment(油品融熔消化前處理)	IP501(ASTM D5184) pretreatment	12,000
Olefin content of gasolines by SFC(汽油、輕油中烯烴含量分析) (TAF 認證)	ASTM D6550 / CNS 15112	8,800
Oxidation stability of FAME (Accel.)(氧化穩定性)	EN 14112	7,200
Oxidation stability of FAME (Accel.)(氧化穩定性)	CNS 15471 / EN 15751	9,000
Oxidation Stability(氧化穩定性測定)(TAF 認證)	CNS 12014 / ASTM D525	7,000
Oxygenates in gasoline by Dual Column GC method(汽油含氧成分分析)(TAF 認證)	ASTM D4815 / CNS 14297 / NIEA A728.7	6,500
pHe(燃料乙醇酸鹼度)	ASTM D6423	1,800
Pour Point(流動點測定)(TAF認證)	CNS 3484 / ASTM D97	2,500
Pyrolysis GC/MS analysis (藥劑驗收)	PY-GCMS-check	8,000
Pyrolysis GC/MS analysis with library search(未知物鑑定)	PY-GCMS	12,000
Qualitative Analysis by XRF(X-射線螢光光譜定性掃描)	XRF-QAL	6,000
Quantitation of specific component by FT-IR(特定成分之IR定量分析)	IR_Quant	5,000
Quantitation of specific component by GC(油品中特定成分定量分析)	GCOIL-Q	16,000
Quantitation of specific component by UV-Vis / (紫外光-可見光分光光度計特定成分定量分析)	UV-Vis	3,600
Ramsbottom Carbon Residue(10％Bottom)(蒸餘10％藍式殘碳量測定)(TAF 認證)	ASTM D524/D86 / CNS 3776/1218	6,000
Rust Preventing Characteristics(防銹性試驗, A 法)	ASTM D665	3,300
Rust Preventing Characteristics(防銹性試驗, B 法)	ASTM D665	3,500
Semiquantitation by XRF(X-射線螢光光譜定性掃描及半定量分析)	XRF-SQ	7,200
Si, Al in fuel oils by ICP/AES(燃料油中矽,鋁含量分析)	ASTM D5184	16,000
Sulfur by Pyro-Fluorescence(汽油、柴油中微量硫含量分析)(TAF 認證)(含密度)	ASTM D5453 / CNS 14505	4,400
Sulfur by Pyro-Fluorescence(油中微量硫含量分析)(含密度)	ASTM D5453 _Modified / CNS 14505_Modified	4,400
Sulfur in petroleum products by XRF(柴油、燃料油中硫含量分析)	ASTM D4294 / CNS 14472	2,500
Sulfur in petroleum products by XRF(柴油、燃料油中硫含量分析)(TAF 認證)	ASTM D2622 / CNS 13877 / NIEA A447.7	4,400
Sulfur in petroleum products by XRF(柴油、燃料油中硫含量分析)(TAF 認證)	ASTM D4294 / CNS 14472	3,300
Surface Area and Porosity Analysis(表面積及孔隙度分析)	PV/SA	9,000
TLC-FID SARA Analysis(薄層色層-火焰離子儀SARA分析)	TLC-FID	5,000
Total acid No.(TAN)(總酸價)	CNS 14906 / EN 14104	1,800
Total Chloride in Catalysts by XRF(X-射線螢光觸媒(Al2O3擔體)氯含量分析)	XRF-Cl	3,600
Trace Water by Coulometric Karl-Fischer Titration(柴油中微量水分含量分析)	ISO 12937	2,800
Vapor Pressure,Reid-Automatic(蒸氣壓測定-迷你法)(TAF 認證)	CNS 14666 / ASTM D5191	2,000
Viscosity Kinematic at 40℃(動黏度測定)(TAF 認證)	CNS 3390 / ASTM D445	3,000
Viscosity Kinematic at 50℃(動黏度測定)(TAF 認證)	CNS 3390 / ASTM D445	3,500
Water & Sediment in Middle Distilate Fuels by Centrifuge / (中餾油水份及沉澱物測定-離心法)(TAF 認證)	ASTM D2709 / CNS 14766	3,000
Water & Sedimentin Fuel by Centrifuge(燃油中水份及沉澱物測定-離心法)(TAF 認證)	ASTM D1796	3,200
Water Content by Distillation(含水量測定)(TAF 認證)	CNS 3517 / ASTM D95	2,500
Water Reaction(污染物-水反應界面率測定)	ASTM D1094	1,600
X-Ray Powder Diffratometric Analysis(X-射線粉末繞射圖譜, 判圖另議)	XRD	4,800
XRD Data Interpretation:Crystal Phase Identification, per phase(X-射線粉末繞射判圖)	XRD_ID	1,500
2inch flow meter(2吋流量計)(TAF 認證)	實驗室自訂標準	44,000
3inch flow meter(3吋流量計)(TAF 認證)	實驗室自訂標準	170,000
4inch flow meter(4吋流量計)(TAF 認證)	實驗室自訂標準	170,000
6inch flow meter(6吋流量計)(TAF 認證)	實驗室自訂標準	178,500
8inch flow meter(8吋流量計)(TAF 認證)	實驗室自訂標準	204,000
10inch flow meter(10吋流量計)(TAF 認證)	實驗室自訂標準	255,000
12inch flow meter(12吋流量計)(TAF 認證)	實驗室自訂標準	306,000
16inch flow meter(16吋流量計)(TAF 認證)	實驗室自訂標準	356,000
24inch flow meter(24吋流量計)(TAF 認證)	實驗室自訂標準	456,000
2-12inch flow mete(2-12吋流量計)	測試	80,000
2inch flow meter(2吋流量計)	現場校正	44,000 + 相關費用
3inch flow meter(3吋流量計)	現場校正	170,000 + 相關費用
4inch flow meter(4吋流量計)	現場校正	170,000 + 相關費用
6inch flow meter(6吋流量計)	現場校正	178,500 + 相關費用
8inch flow meter(8吋流量計)	現場校正	204,000 + 相關費用
10inch flow meter(10吋流量計)	現場校正	255,000 + 相關費用
12inch flow meter(12吋流量計)	現場校正	306,000 + 相關費用
16inch flow meter(16吋流量計)	現場校正	356,000 + 相關費用
24inch flow meter(24吋流量計)	現場校正	456,000 + 相關費用
空氣中C3(含)以上VOC分析	NIEA A715.15B	20,000
空氣中乙烯、乙烷分析	NIEA A715.15B	5,000
Apparent bulk density, ABD(容積密度)	UOP method 254-65	1,000
Apparent bulk density(容積密度)	100CC量筒測量	600
crash stress(粉碎強度)	ASTM D4179	2,000
Hydrodesulfurization test for second stage hydrogenation catalyst / (二級氫化加氫脫硫觸媒測試)	試驗工場觸媒活性測試	1,036,547/月
Loss on ignition, LOI(灼燒損失)(RFCC觸媒)	Heating method	600
Microactivity(媒裂微活性測試)	ACE	300,000
Pt. catalytic reforming test(白金媒組觸媒活性測試)	試驗工場活性測試	800,000
size of catalyst(觸媒大小)	量測50顆平均	1,000
註: 1.本標準按照試驗項目的英文字母排序。 2.相關費用:(1)人員出差旅費：(每日3000元×3人) ; (2)標準件拆裝費用（時價）。 3.刪除3項︑新增0項與修訂95項，紅色字為新增或修正的部分。